## Slide 1: Fundamentals of electric drive
Electrotechnic faculty
Electric drive department
Alexander Beshta
Alexander Beshta
141
http://do.nmu.org.ua/course/index.php?categoryid=11
Presentation #6

## Slide 2: Selection of the motor
Heating and cooling of electric motors
Motor behaviors classification
Motor/drive selection

## Slide 3: Selection of the motor
Heating and cooling of electric motors

## Slide 4
Heating and cooling of electric motors
Isolation class | А | Е | В | F | H | C
Permissible temperature, С | 105 | 120 | 130 | 155 | 180 | More than 180
Permissible isolation heating temperature
 common losses, W;
 motor heat dissipation, joule/(sС);
motor temperature excess
over ambient temperature
(motor overheating);
 motor heat capacity (joule/С).

## Slide 5
Cooling and heating curves of a motor
P1
P2>P1
t
Th
t
T0

## Slide 6: Selection of the motor
Motor behaviors classification

## Slide 7
Motor behaviors classification
Long-term rated duty (S1)
Short-term duty (S2)
Intermittent periodic duty (S3)

t
 s=P/A

top
t0
ΔP
ΔP
t

s

tdc
t0
top
ΔP
ΔP
ΔP
t


. (9.7)
Standard DR=15%, 25%, 40%, 60%, 100%

## Slide 8
Duty cycle and rating
t
t
t
t
tb,2
tb,1
ts,1
ts,2
tst,1
tst,2
t01
t02
tL,1
tL,2
TL,1
TL,2
Tdyn,1
Tdyn,2
Tdyn,1
Tdyn,2
TL,1
TL,2
Tst,1
Tst,2
Tb,1
Tb,2
v, m/с
TL, Nm
Tdyn, Nm
T, Nm
tdc
v1
v2
v1
TL,1

## Slide 9: Selection of the motor
Motor selection methods

## Slide 10
Motor/drive selection
Motor enclosure
Closed with independent cooling
Closed with natural cooling
Closed with self-cooling
Protected with self-cooling
Closed with natural cooling
(IP-22)
1,3 – ventilation windows
for entry and exit of cooling air;
2 – stator frame;
4 – bearing shield;
5 – shaft;
6 – frame legs
1 – shaft;
2,5 – bearing shields;
3 – box with terminals;
4 – frame cooling ribs;
6 – frame legs
Protected with self-cooling
(IP44)

## Slide 11
Inspection method of a motor heating

t
 per

 med
T, ΔP
t1
ΔP1
ΔP2
ΔP3
ΔP1
T1
T2
T3
T1
t2
t3
t
 max

 med
ΔPmed

## Slide 12
Equivalent inspection methods
Type of the behavior | Equivalent current method |  | Equivalent torque method |  | Equivalent power method | 
 | Conditions of the appliance | Conditions of the method | Conditions of the appliance | Conditions of the method | Conditions of the appliance | Conditions of the method
Long term duty cycle | ̶ |  | Ф=const; |  | Ф=const; =const | 
Intermittent duty cycle | ̶ |  | Ф=const; |  | ̶ | ̶

## Slide 13
Example
tdc
T,
t
tst
ts
t0
Intermittent periodic duty with frequent starting
Tst
TL
s
Tst
TL
s
# var | JM, kgm2 | Trat, Nm | rat, rad/s
1 | 0,067 | 37,78 | 92.63
# var | Normalized start number in an hour Ns | Normalized inertia ratio RJ | tst/tdc | t0/tdc | TL/Trat | s/rat
1 | 300 | 1,2 | 0,1 | 0,2 | 1 | 1
==0,067+1,20,067=0,08 kgm2
 =6,21 Nm
==34,53 Nm
12-1,2-2,4=8,4s
=1
=0,6

## Slide 14
Tasks
tdc
T,
t
tst
ts
t0
Fig.1. Intermittent periodic duty with frequent starting
Tst
TL
s
Tst
TL
s
Table #1 var | JM, kgm2 | Trat, Nm | rat, rad/s
1 | 0,067 | 37,78 | 92.63
Table #2 var | Normalized start number in an hour Ns | Normalized inertia ratio RJ | tst/tdc | t0/tdc | TL/Trat | s/rat
1 | 300 | 1,2 | 0,1 | 0,2 | 1 | 1
Fig.2. Intermittent periodic duty with frequent starting and braking
tdc
T,
TL
Tst
t
Tst
tst
ts
t0
tb

s
tdc
T,
t
Tst
tst
ts
tb
TL
Fig.3. Intermittent periodic duty with start, constant load and braking intervals
s
2 | 600 | 1,6 | 0,2 | 0,42 | 1 | 1
3 | 900 | 1,8 | 0,1 | 0,74 | 0,8 | 1
4 | 1200 | 2 | 0,2 | 0,81 | 0,8 | 1
2 | 0.1 | 50.81 | 98,38
3 | 0,465 | 146,99 | 74,84
4 | 1,1 | 290,72 | 75,67
#var. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Fig.#,t1#,t2# | 1,1,1 | 2,1,1 | 3,1,1 | 1,2,1 | 2,2,1 | 3,2,1 | 1,2,2 | 2,2,2 | 3,2,2 | 1,2,3 | 2,2,3 | 3,2,3
#var. | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Fig.3 | 1,2,4 | 2,2,4 | 3,2,4 | 1,3,1 | 2,3,1 | 3,3,1 | 1,3,2 | 2,3,2 | 3,3,2 | 1,3,3 | 2,3,3 | 3,3,3